## Sheet1
Acetamin ophen | [13 empty] | see Paracetamol
Acetylsali cylate | + | + | +  | (+ ) |  |  |  | 15 - 30 min | [6 empty] | 65
1-Acid glycoprot ein (orosomu coid) | + | +  | + ,  | (+) |  |  |  |  | 12 d | 1 y | 5 m | 5 m |  |  | 142, 256
Adenovir us antibodies | + |  | (+) | [10 empty] | Complement fixation test, ELISA IgG, IgM
Alanine aminotransferase (ALAT, ALT ) | + | + | + | (+) |  |  |  | 47 h | 4 d  | 7 d | 7 d | 3 d |  |  | 106, 140
Albumin colorimetric nephelometric | + + | +* + | (+),+  + | (+) |  |  |  | 3 w | 2 - 6 d 14 d (2 – 6 °C) 6 d | 4 m 3 m | 5 m 1 w | 2,5 m 4 h |  | *Bichromatic assay recommended for colorimetric assay (102), | 27, 52, 76, 145, 222, 258, 271
Aldostero ne | + | + |  |  |  |  |  | min | 1 d  | 4 d | 4 d | 4 d | EDTA |  | 289
Alkaline phosphata | + |  | - | (+ |  |  |  | 3 – 7 d | 4 d  | 2 m | 7 d | 7 d |  | EDTA binds essential cofactor | 100, 106, 271
se, - total - bone isoenzyme |  + | + | - | ) (+) |  |  |  | 9 – 18 h | 4 d | 1 y | 7 d | 7 d |  | zinc
Aluminiu m | - | - | - | - |  |  |  |  | 7 d | 1 y | 2 w | 1 w |  | Special tube needed | 218
Amikacin | + | + | +  | (+ ) |  |  |  | 30 min – 3 h |  | 14 d | 7 d | 2 h |  |  | 274, 290
Amiodarone | + | + | + |  |  |  |  | 4 h – 25 d |  | 1 w | 1 w | 1 d |  | HPLC | 100, 244
Amitripty line | + | + | + |  |  |  |  | 17 – 40 h |  |  |  | 1 d |  | HPLC | 275
Ammonia (NH4+) | - | (+)  |  | - | + |  |  | min | 15 min in EDTA | 3 w | 2 h | 15 min | Serin 5 mmol/L + borate 2 mmol/L (72) | Do not use ammonium heparin. Contamination by sweat ammonia. | 72
Ampheta mines | + | + | + | [11 empty] | 275
Amylase - pancreatic - total | + + | + + | + + | (+) (+)* |  |  |  | 9 - 18 h 9 - 18 h | 4 d  4 d  | 1 y 1 y | 7 d 7 d | 7 d 7 d |  | * Possible decrease of the activity by Mg and Ca binding at  25 °C | 106, 161, 271, 289, 290
Amyloid A (SAA) | + | + | [7 empty] | 3 m at -25 °C | 8 d  | 3 d  |  |  | 145
Androsten dione | + | [7 empty] | 1 d  | 1 y | 4 d | 1 d |  |  | 132
Angiotens | + | + | - | - | [5 empty] | 1 y | 7 d | 1d |  |  | 164
in convertin g enzyme (ACE)
Anticonv ulsive drugs | + | [12 empty] | See carbamazepine, ethosuccimide, phenobarbital, phenytoine, valproic acid
Antimitoc hondrial antibodies (AMA) | + | [8 empty] | 1 m | 7 d | 1d |  |  | 43
Antineutr ophil cytoplasmic antibodies (ANCA) | + | [8 empty] | 1 m | 7 d | 1d |  |  | 43
Antinuclear antibodies (ANA) | + | [8 empty] | 1 m | 7 d | 1d |  |  | 43
Antiphosp holipid antibodies | + | [8 empty] | 1 m | 2 – 3 d | 1 d |  |  | 43
Antistaph ylolysine | + | + | + | [6 empty] | 6 m | 2 d | 2 d
Antistrept odornase B | + | [8 empty] | 3 m | 8 d
Antistrept | +
okinase
Antistrept olysine | + | + , , , - | + , , , -  | [6 empty] | 6 m | 8 d | 2 d
Antithrombin - functional - immunochemical | - | - | - + ,  |  (+) ,  |  |  | +* | 30 h 40 – 135 h | 8 h 2 d** | 1 m 1 y | 2 w 8 d | 2 d |  | *Test by PharmaciaUpjohn **After centrifugation | 105, 137, 256, 259
1- Antitrypsi n | + | + | +, - | (+) , |  |  |  |  | 11 d 7 w (2- 6 °C) | 3 m | 5 m | 3 m |  | EDTA and citrate  | 50, 145, 253, 254, 257, 289
APC resistance function al screenin g test genotypi ng factor V Leiden | - | - | - |  |  |  |  |  | 30 min 1 w | 6 m (-70 °C) | 3 h | 3h |  | Centrifuge within 30 min | 292
Apolipopr oteins AI, AII, B | + | + |  , | (+) | [5 empty] | 3 m | 8 d | 1 d |  |  | 44, 63, 145, 189
Apolipopr | + | + |  | (+ | [5 empty] | 1 m | 1 m | 1 m |  |  | 145, 189
otein CIII |  |  |  | )
Apolipopr otein E | + |  | + | [5 empty] | 1 d | 3 m | 8 d |  |  |  | 216
ApoEgenotyping | [5 empty] |  |  |  | 1 w (4 –8 °C) | 3 m | 1 w |  |  | Stability of ApoE2 > ApoE4 > ApoE3 | 216, 229
Aspartate aminotran sferase (ASAT, AST) | + |  | +, -, | (+) |  |  |  | 12 - 14 h | 7 d  | 3 m | 7 d | 4 d |  |  | 106, 140, 253, 289, 290
Aspergill us antigen detectio n antibody | + +
Atrial natriuretic peptide (ANP) |  |  | +* |  |  |  |  | 8,8 min | Unstable |  |  |  | *Aprotinin | Centrifuge at 4 °C | 180, 263
- prohormo ne (proANP) |  |  | + |  |  |  |  | 1 h | 6 h | 4 w | 3 d | 6 h |  |  | 184
Barbiturat es | + | + | [5 empty] | 50 - 120 h | 2 d | 6 m | 6 m | 6 m |  | See also phenobarbital | 36, 65, 264
Bartonella spp. antibodies | +
Batroxobi n time | - | - | - |  | [5 empty] | 1 m | 4 h | 8 h |  | Avoid heparinate contamination  | 105, 253, 289
Benzodiaz epine | + | + | [5 empty] | 25 - 50h | <1 d* |  | 5m | 5m |  | See also diazepam, flunitrazepam, nitrazepam | 65, 135, 155, 264
Bicarbonate | + | + | - |  |  |  |  | min | Unstable  (30 min – 2 h at +4°C) | 1 m | 7 d | 1 d * | Keep tube closed | *1 h after opening the tube, see also blood gases | 29, 140, 289
Bilirubin conjugat ed total (also in newborns) | + + | + + | + + | (+) (+) |  |  |  | h 17 d | Unstable, | 6 m 6 m | 7 m 7 d | 2 d 1 d |  | Darkness required when stored > 8 h | 27,106, 271, 289
Blood cell surface markers (immunoc ytometry) |  |  |  |  | + | + |  |  | CD4 1d in heparinized blood |  |  |  |  | See also lymphocyte subtypes | 219
Blood gases (CO2, O2, pH) |  |  |  |  |  |  |  | min | < 15 min  pO2 < 30 min pH, pCO2 < 60 min on ice |  | 2 h * |  | *In heparinized blood and closed tubes | Use closed gas tight tubes or capillaries | 19, 29
Bordetella pertussis antibodies | +
Borrelia burgdorferi antibodies (Lyme | + | + | + | + | [9 empty] | ELISA, Western blot
disease)
Brain natriuretic peptide (BNP) NT- pro BNP | + + | + + |  + |  |  |  |  | 13 – 20 min 2 h | 4 – 5 h 3 d | 5 d -8 m 1 y | 1 d 5 d | 4 h 3 d | EDTA |  | 64, 124,170, 175, 226, 233, 236
Brucella antibodies (Brucellosis) | +
C1esterase inhibitor - functional assay - immunochemical | + + |  | + | (+)  +  | [5 empty] | 1 m 1 y | 2 d 8 d | 6 h |  | Stabilise plasma by freezing | 253
CA 125 (Cancer antigen 125) | + | + , , µ | + , , µ | (+)  |  |  |  | 5 – 10 d | 2 d  | 3 m | 5 d | 3 d |  |  | 22, 217, 237,246
CA 15-3, (Cancer antigen 15-3) | + | + , , - µ | + , , , - µ | (+)  |  |  |  | 5 - 7 d | 7 d | 3 m | 7 d | 7 d |  |  | 151, 217, 237, 246
CA 19-9 | [13 empty] | See carbohydrate antigen 19-9
CA 72-4 (Cancer antigen 72-4) | + | +  | +  | (+)  |  |  |  | 3 - 7 d | 3 d  | 3 m | 30 d | 7 d |  |  | 217, 246
Cadmium | - |  |  | - |  |  |  | 10 - 35 y | 1 d in trace element tube |  |  |  |  | Special tube (Released from red stopper) | 218, 289
Calcitonin | + | + |  |  |  |  |  | min | 4 h stabilized* | 1 y | 1 d | 4 h | *Aprotinin 400 KIU/mL |  | 100, 253
Calcium total ionised (free) | + - | + (+) | - - | - - | + * |  |  | h min | 2 d 15 min 1 d* | 8 m | 3 w 2 h | 7 d 3 d** | *Use calciumtitrated heparin (24) | pH-dependent **Stable in gel tubes for 25 h & 72 h after centrifugation in closed tube (123) | 108, 271, 289 24, 29, 123
Campylobacter jejuni/fetu s antibodies | +
Candida albicans antibodi es antigen detectio n | + +
Carbamaz epine | + | + , , ,  | + , | (+ ), , , |  |  |  | 10 - 25 h | 2 d | 1 m | 7 d | 5 d |  | 10 % higher results in plasma (), unstable in gel separator tubes, but stabile in SST II tubes (30) | 30, 36, 65
Carbohydrate antigen 19-9, (CA 19-9) | + | + | + , µ | (+)  |  |  |  | 4 - 9 d | 7 d  | 3 m | 30 d | 7 d |  |  | 217, 246
Carbohydrate deficient transferrin (CDT) | + | - | [5 empty] | 14 - 18 d | 3 d | y | 7 d | 7 d |  | Method-dependent | 224
Carcinoembryoni c antigen (CEA) | + | + | + , , , µ | +  |  |  |  | 2 - 4 d | 7 d | 6 m | 7 d | 2 d |  | EDTA reduces by 13 %   | 96, 179, 217,237, 246, 269, 289
Cardiolipi n antibody | + | [8 empty] | 1 m | 2-3 d | 1d |  |  | 43
Catechola mines (epinephri ne, norepinep hrine) | - |  | (+) | - |  |  |  | 3 - 5 min | 1 h if not stabilized | 1 m 6 m stabilised | 2 d | 1 d | Glutathione 1.2 g/L +EGTA (26) | EGTA plasma to be separated within 15 min and frozen at 20°C | 26, 99
Cerulopla smin | + | + | +,  |  |  |  |  | 4 d |  | 1 y | 2 w | 8 d |  |  | 254, 258, 271
Chinidin | + | +,  | +  | (+)  |  |  |  | 6 – 9 h |  | 1 – 2 w | 1 d |  |  |  | 65, 274
Chlamydia antibodies (C. trachomatis, C. pneumoniae) | + |  | (+) | [7 empty] | 7 d | 5 d |  | DNA-PCR possible after 3 – 4 d at room temperature | 173
Chloramp henicol | + | + | + | (+) |  |  |  | 2 – 5 h | [6 empty] | 274
Chloride | + | + | - | - | + |  |  | 1 h | 1 d  | y | 4 w | 7 d |  |  | 29, 106
Cholester ol | + | + | +, - , , , | (+) |  |  |  |  | 2 - 7 d  | 3 m | 7 d | 7 d |  |  | 11, 27, 44, 63, 106
Cholester ol, HDL | + | + | + ,, -  | - |  |  |  |  | 2 d  | 3 m | 7 d | 2 d |  | 3 %lower cholesterol observed in EDTA plasma due to osmotic dilution effect | 11, 44, 63
Cholester ol, LDL | + | -, + ,, | +, - , | - |  |  |  |  | 1 d  | 3 m | 7 d | 1 d |  |  | 11, 44, 63
Cholineste rase, | + | + | +, - |  |  |  |  | 10 d* | 7 d  | 1 y | 1 y | 1 y |  | *Shorter in heavily diseased patients | 76, 106, 114, 246
including dibucain number |  |  | , | [10 empty] | -76
Ciclospori n | - | - | - | - |  |  |  | 10 - 27 h | 13 d | 3 m* | 3 w* | 3 w* | EDTA | *Stored in haemolysate | 7, 66, 120, 274
Circulatin g immunocomplexe s (CIC) | + | [7 empty] | 4 h | 1 y | 8 h | 4 h |  |  | 43
Clostridiu m tetani toxine antibodies | +
Coagulati on factors | [14 empty] | 38, 105, 2564, 292
Factor II | - | - | - |  |  |  |  | 41 - 72 h | 1 d | 1 m |  | 6 h |  |  | 256, 292
Factor V | - | - | - |  |  |  |  | 12 - 15 h | 4 h | 1 m | 2 d | 6 h |  | Centrifuge at 4°C | 38, 105, 256, 292
Factor VII | - | - | - |  |  |  |  | 2 - 5 h | 1 d | 1 m | Unstable | 6 h |  |  | 256, 292
Factor VIII | - | - | - |  |  |  |  | 8 - 12 h |  | 2 w | 4 h | 3 h |  |  | 38, 105, 256, 292
Factor VIII R: Ag | - | - | - |  |  |  |  | 6 - 12 h |  | 6 m | 7 d* | 7 d* | * Sodium azide | Five freezingthawing cycles are possible | 261
Factor VIII R: Co |  |  |  |  |  |  |  | 6 h |  | 6 m | 2 w* | 2 d | * Sodium azide |  | 261
Factor IX | - | - | - |  |  |  |  | 18 - 30 h | 1 d | 1 m |  | 6 h |  |  | 256
Factor IX: Ag | - | - | - |  |  |  |  |  | 1 d | [5 empty] | 292
Factor X | - | - | - |  |  |  |  | 20 - 42 h | 1 d | 1 m |  | 6 h |  |  | 256, 292
Factor XI | - | - | - |  |  |  |  | 3 – 4 d | 1 d |  | Unstable | 6 h |  |  | 256, 292
Factor XII | - | - | - |  |  |  |  | 50 – 70 h | 1 d |  | Unstable | 6 h |  |  | 256, 292
Factor XIII | - | - | - |  |  |  |  | 4 – 5 h |  | 1 m |  | 4 h |  |  | 256, 292
Cocaine Benzoylecgonin Ecgoninm ethylester | + | + | - | [5 empty] | < 10 min 5 d 10 d | 4 d | 30 d 5 d 10 d | <30 min 5 d 10 d | Fluoride, pH 5 | Cocaine is converted in vitro into its metabolites. | 109, 155, 231
Cold agglutinins | [13 empty] | Keep whole blood at 37°C (water bath)
Complement C3 | + | + | + ,  | (+) |  |  |  | min | d d (C3c) (2 – 6°C) | 8 d | 8 d | 4 d |  | Dependent on antibody, during storage C3c  C3  | 145, 258, 271, 289
Complement C4 | + | + | + | (+) |  |  |  | 12 h – 1 d | d d (2 – 6 °C) | 3m | 8 d | 2 d |  | During storage C4,C4c | 145, 271, 289
Copper | + | + | - | - |  |  |  |  | 7 d | y | 2 w | 2 w |  | Special tube to avoid contamination | 271289
Corticotro |  |  |  |  |  |  |  | min |  | 6 w | 3 h | 1 h | Aprotinin 400- | Prevent binding to | 64, 178,
pin (ACTH) | [8 empty] | 1 – 4 h  |  | 2 d* | 1 d* | 2000 KIU/mL Mercaptoethanol 2L/mL | glass tubes by using plastic for storage * in EDTAplasma | 201, 253
Corticotro pin releasing hormone | + | + |  | [7 empty] | 1 d | 11 – 18 h |  |  | 64
Cortisol | + | + , µ | + , , µ |  |  |  |  | 1 h | 7 d | 3 m | 7 d | 7 d |  | 11 % less in EDTA () | 50, 126, 289
Coryneba cterium diphtheria e toxine antibodies | +
Coxiella burnetiiantibodies (Q-fever) | +
Coxsackie virus antibodies | +
C peptide | + | + |  |  |  |  |  | 30 min | 6 h | 2 m | 5 d | 5 h | EDTA | Fluoride,oxalate also possible() | 64, 79, 178
C-reactive protein (CRP) | + | (+) ** + , , , | (+)* + , , , | (+), +  |  |  |  | 2 - 4 h | 3 w (2 - 6 °C) | 3 y | 2 m | 11 d |  | *Method-dependent **Patient-dependent lower results | 145, 258, 289
|  | , | , 
Creatinine | + | + | + | (+) |  |  |  | 3 min | 2 d  | 3 m | 7 d | 7 d |  |  | 27, 106, 271,289
Creatine kinase (CK) | + | + , , ,  | + , ,  | (+) |  |  |  | 18 h | 7 d  | 1 m | 1 m | 4 h | Darkness | CK-BB not stable | 106,253, 271, 289
Creatine kinase MB enzyme activity molecul ar mass | + + | +, - + ,, , - µ | + , ,- +,,, - µ | (+)  (+)  |  |  |  | 12 h 12 h | 7 d  7 d  | 1 y 4 w | 7 d 7 d | 2 d 2d | SH reagent |  | 165
C-terminal crosslinks (CTX) (ß-CrossLaps) | + | + |  | [5 empty] | 8 h 7 d (CrossLabs) | 3 m | 7 d | 8h 2 d* | pH 8.0, *EDTA | Stability pHdependent | 157, 185
Cyclosporin | [13 empty] | see ciclosporin
Cytokerat inefragment 21-1 (CYFRA 21-1) | + | +  | +  | (+)  |  |  |  | 30 min | 7 d | 6 m | 1 m | 7 d |  |  | 217, 246
Cystatin | + | + | + |  |  |  |  | min | 1 d | 3 m | 1 w | 2 d |  | More stable in | 68, 145,
C | [13 empty] | EDTA | 176
Cytokines | - | + |  | [5 empty] | 2 h (heparinized blood) |  | 2 d |  |  | see also Tumor necrosis factor | 14, 48, 54, 59, 145
- IFN-, IFN-, 1 |  | + |  | [11 empty] | 14, 48, 54, 59
- IL-6 | - | + |  | [5 empty] | 1 h (EDTA) | [5 empty] | 69
- IL-1, sIL-2R, sIL- 6R | - |  |  | [7 empty] | 12 h  |  |  |  | 14,48,54,56
Cytomegalovirus - antigen detection (pp65) | [5 empty] | 
- DNA amplificat ion | [5 empty] | 
- CMV antibodies | + | +, | +, | (+),
D-Dimer | (+) | + | - |  |  |  |  | 6 – 8 h | 1 w | 6 m | 4 d | 8 h |  |  | 20, 31, 256, 292
Dehydroe piandoster one sulfate (DHEA-S) | + | +, | + |  |  |  |  | 7 - 9 h | 2 d  | y | 2 w | 1 d |  |  | 51, 132, 253
Dengue | +
virus antibodies
Diazepam | + | + | + |  |  |  |  | 25 – 50 h |  |  | 5 m | 5 m |  |  | 65, 155, 264
Differenti al leucocyte count Band neutrophiles Segment ed neutrop hiles Eosinop hiles Basophil es Monocyt es Lympho cytes | - | - | - | - |  |  | + | 2 h-3 y 6 – 7 h 1.5 – 3 y | 2 h-7 d* – 12 h – 12 h 12 h – 6 d 2 h – 2 d – 12 h h – 7 d |  |  |  | Dry blood smear stable | K3-or K2-EDTA: Stability temperature- and instrument- dependent *Prepare blood smear within 3 h after sampling. Do not store EDTA blood in refrigerator | 103, 107, 213, 242
Digitoxin | + | + | + |  |  |  |  | 6 – 8 d |  | 6 m | 3 m | 2 w |  |  | 65, 289
Digoxin | + | + | + | (+ ) |  |  |  | 1 – 2 d |  | 6 m | 3 m | 2 w |  |  | 65, 289
Disopyra mide | + | + | + | (+) |  |  |  | 4 – 9 h |  | 5m | 2 w |  |  |  | 65
DNA analysis by polymeras | (+) | *,+ | + |  | -* |  | + |  | 1 w |  |  |  |  | *Heparin inhibits Taq polymerase and restriction enzymes LiCl 1.8 mol/L | 37, 112, 122, 181, 270,
e chain reaction amplificat ion (PCR) | [13 empty] | eliminates this error(122, 181)
Dopamine |  | + | + |  |  |  |  | 3 - 5 min |  | 1 m | 2 d | 1 d |  |  | 253
Echinoco ccus spp. antibodies | +
ECHO virus antibodies | +
Elastase | [5 empty] | + | [7 empty] | see pancreatic elastase
Electroph oresis, proteins; see also lipid electroph oresis |  | (+)* | [7 empty] | 3 w | 3 – 7 d | 1 d |  | Fibrinogen to be considered when using heparinate plasma, may be eliminated by fibrin precipitation | 253, 257
Endomysi um antibodies |  | [8 empty] | m - ys | 7 d | 1 d |  |  | 43
Entamoeba histolytica antibodies | +
Enterovir us antibodies | +
Epstein Barr virus | + |  | (+
- heterophil ic antibodies (Paul Bunnel test) |  |  | )
- anti-EBNA, -VCA, -EA); | + | + | + | + | [10 empty] | IgG, IgM, IgA; ELISA, Western Blot
Erythrocyte count |  |  |  |  | (+) |  | (+) | 2 m |  | 4 d 7 d (4 – 8 °C) |  | 7 d* | 7 d* |  | *EDTA-blood | 89, 107
Erythrocyte sedimentation rate (ESR) | [6 empty] |  |  |  | 2 h | - | - | - |  | 1 part citrate, 4 parts blood | 253
Erythropoietin | + | + | + |  |  |  |  | 4 - 11 h |  | 6 - 24 h | 5 m |  | 2 w |  | Shipped frozen | 129, 253
Estradiol (E2) | + | (+) , µ, +, | (+) , µ, + , | (+) | [5 empty] | 1 d | 1 y | 3 d | 1 d |  |  | 51, 132, 289
Ethanol | + |  | +, | (+) |  | +* |  | 2 – 6 h |  | 2 w  ** | 6 m | 6 m | 2 w | EDTA/ Heparin | *10 g/L NaF recommended to | 83, 155, 171
|  |  | , ,  | ,  | [9 empty] | stabilise **Evaporation, use closed tubes
Ethosuxi mid | + | + | + |  |  |  |  | 30 - 60 h |  | 5 m | 4 w |  |  |  | 65
Fatty acids | + | (+)* | (+) |  |  |  |  | 2 min | 30 min* | 2 d | 12 h | 30 min |  | *Activation of lipase by heparin. Freeze serum/ plasma immediately | 271, 289
Ferritin | + | + , -  | (+ )*, - , | (+) ,  |  |  |  |  | 1 d | 1 – 2 y | 7 d | 7 d |  | *Method-dependent | 84, 252, 253, 289
1Fetoprotei n (AFP) | + | + | + | (+) |  |  |  | 2-3 d | 7 d | 3 m | 7 d | 3 d |  |  | 22, 128, 289
Fibrin(og en) degradati on products (FDP) | (+ )* | - | - | (+)** |  |  |  |  | unstable | 1 m | 1 d | 3 h | 10 U thrombin and 150 KIU aprotinin /mL blood | *Special tube **Aprotinin or soybean trypsin inhibitor | 178, 254, 256
Fibrin monomers | - | - | - |  |  |  |  | 1h | 1 d | 3 m | 1 d | 2 h |  |  | 202, 256
Fibrinoge n - Clauss | - | - | - |  |  |  |  | 4 -5 d | 1 w | 1 m | 1-7 d | 1-7 d |  | Stability methoddependent | 2, 15, 105, 183, 256, 259, 292
XXXXXXXX | - | + | - |  |  |  |  | 4 -5 d | 1 w | 1 m | 7 d | 7 d
Fibrinope ptide A | - | - | - |  |  |  |  | 3 min |  |  | 2 h |  |  |  | 256
Flunitraze pam | + | [7 empty] | < 1 d* |  |  |  |  | *Store protected from light | 135
Folate - in erythrocyt es | + | +, - µ | +, -µ | (+ ) | + µ | +,  |  | min | 30 min , 5 d (2 – 8 °C) | 8 w | 1 d | 30 min | Ascorbate 2g/L | Haemolysate, prepared by 0.5 mL blood + 4.5 mL ascorbic acid (2 g/L). Na-heparin interferes with Axsym-Test (). | 142, 253, 289, 290
Follitropi n (FSH) | + | + | + | (+)  |  |  |  | min | 7 d | 1 y | 2 w | 2 w |  |  | 127, 289
Francisell a tularensis- antibodies (tularemia) | +
Free light chains (, ) of immunoglobulins | + | +, , | + , | [5 empty] | 2 – 6 h | 6 m | 1 m | 7 d |  |  | 50, 145, 234, 250, 251
Fructosa mine | + | + | + |  |  |  |  | 12 d | 12 h | 2 m | 2 w | 3 d |  |  | 249, 253
Galactose 1-puridyltransferas | [5 empty] | +* | [7 empty] | * In newborns drop of blood on filter paper , analyzed in erythrocytes
e (galactose mia sceening)
Gastrin | + | * | + | (+) |  |  |  |  | 2 h |  |  | 1 w* | *With aprotinin 2000 KIU/mL | Freeze serum as soon as possible | 64, 253, 289
Gastrin releasing peptide (GRP) pro GRP | + |  |  |  |  |  |  | 2 min 1 d | 1 h Serum, 3 h Plasma | 7d | 1d | 3 h (serum -8 h(Plasma) |  |  | 246
Gentamici n | + | + | + | (+ ) |  |  |  | 0.5 - 3 h (< 30 y of age) 1.5 – 15 h (> 30 y of age) | 4 h | 4 w | 4 w | 4 h |  |  | 65, 290
Glucagon | + | + |  | [5 empty] | Unstable |  | 1.5 d | 30 h | Aprotinin 5002000 KIU/mL | Stabilize | 178
Glucose capillary venous | - - | -  -  | - -  +** | -  -  | (+) |  |  | min min | 10 min, 10 min, 2 h** | 1 d* 1 d* | 7 d* 7 d* | 2 d* 2 d* | Fluoride, monoiodoacetate, mannose, acidity | *Stabilised haemolysate and plasma **EDTA,citrate,fluo ride tube (75) | 57,75, 81, 100, 253, 271, 289
Glutamate decarboxylase autoantib odies (GADA) | + |  | (+) | [10 empty] | Add 25 mmol/L CaCl to EDTA plasma, centrifuge 10 min at 10000 g | 182, 196
Glutamate | + | + | + |  |  |  |  | 18 h |  | 4 w | 7 d | 7 d |  |  | 253, 289
dehydrog enase
Glutamate oxaloaceti c transamin ase (GOT) | [13 empty] | See aspartate aminotransferase
Glutamate pyruvate transamina se (GPT) | [13 empty] | See alanine aminotransferase
-Glutamyl transferas e (-GT) | + | + | (+), + ,  | (+),  |  |  |  | 3 - 4 d | 1 d  | y | 7 d | 7 d |  |  | 106, 140, 253, 289, 290
Glycated albumin | [13 empty] | See fructosamine
Gold | +
Haematocrit |  |  |  |  | + |  |  |  | 1 d 4 d (4 – 8 °C) |  | 4 d* |  | *EDTA blood, | K2-superior to K3-EDTA | 107
Haemoglobin A1c | [5 empty] |  |  | 2 m | 3 d (EDTA blood) | 6 m* | 7 d* | 3 d* |  | *Haemolysate | 249
Haemoglobin F (HbF) | [5 empty] | +
Haemoglobin | [5 empty] |  |  | 2 m | 4 d |  | 7 d* | 4 d* |  | *EDTA blood | 89, 107
(whole blood)
Haemoglobin (plasma) | (+)  |  | (+)  | (+) | [10 empty] | Haemolysis during clotting (97) | 16, 97, 144
Hanta virus - antibodies | +
- RNA amplificat ion |  |  |  |  | - |  | -
Haptoglo bin | + | + | + | (+)  |  |  |  |  | 3.5 - 4 d | 8 d | 3 m | 8 m | 3 m |  |  | 254, 258, 271, 290
HBeAg | + | + | +  | (+)  | [7 empty] | 7 d |  |  | also possible from ACD-B, CPDA-1, CPD and Na-oxalate- tubes ()
HBsAg | + | + , , | + , , | (+),, , | [5 empty] | 9 d | 1 y | 2 w | 7 d
Helicobac ter pylori antibodies | + | + | + | (+ )
Heparin (anti Xa) |  |  |  |  | [8 empty] | 4 h
Heparin associated thrombopenia; | + | [5 empty] | + |  |  | 1 d |  | 4 w |  |  | citrated blood and serum needed
HIPA test
Hepatitis antibodies anti-HAV | + | + , , | + , , | (+) , , |  |  |  | 9 d |  | 1 y | 4 w | 5 d |  | prevent repeated freezing and thawing of sample | 100
- anti-HAV IgM | + | + , | + , | + , | [5 empty] | 1 y | 4 w | 5 d |  |  | 100
- anti-HBsAg | + | + , , | + , | + ,, | [5 empty] | 1 y | 4 w | 7 d |  |  | 100
- anti-HBc | + | + , , , | + , , | (+), , , | [5 empty] | 1 y | 4 w | 7 d |  |  | 100
- anti-HBe | + | + , | + , | (+) , | [5 empty] | 1 y | 4 w | 5 d |  |  | 100
- anti-HCV | + | + , ,  | + , ,  | + ,- ,  | [5 empty] | 1 y | 4 w | 7 d |  |  | 100
- anti-Hepatitis | + | + | +  | (+ ) | [10 empty] | 100
D - anti-Hepatitis E | +
Hepatitis B virus DNA | + |  | + | [7 empty] | 6 h |  |  |  | 90
Hepatitis C virus - RNA amplificat ion | + |  | + | [5 empty] | 6 h - ys |  | 3 d - ys |  |  |  | 111
Hepatitis D virus - RNA amplificat ion | + |  | +
Hepatitis E - RNA amplificat ion | + |  | +
Herpes simplex 1 or 2 virus antibodies | + | + | + | +
HHV 6 antibodies (human herpes virus 6) | +
HHV 6-, | [5 empty] | 
7-, 8-DNA amplificat ion
HI virus 1 - (provirus)DNA amplificat ion - RNA amplificat ion |  |  |  |  |  |  |  |  | 5 – 14 d | 7 d |  | 5 d - s | 7 d 1 – 2 d |  | Several freezing/thawing cycles possible | 111, 112, ,113, 156
HI virus 1 and 2 antibodies | + | + , , | +, , | (+)  , , | [7 empty] | 4 w | 5 d
HIV, viral load |  |  |  |  | + |  | + |  | 5 – 14 d | 7 d | [5 empty] | 265
HLAABC typing |  |  |  |  |  | [9 empty] | Ammonium heparinized blood
HLA- B27 |  |  |  |  | + |  |  |  |  | 1 d |  |  | 1 d | Citrate-phosphatedextrose (CPD)
HLA DR typing | [5 empty] | 
Homocysteine | +  | + |  | (+) |  |  |  |  |  | 1 h 6 h (2 – 6 °C) | 4 y | 4 w | 4 d | Sodium fluoride 4 g /L blood | Sample with EDTA/acidic citrate (0, mol/L). Store blood at – 4 °C (277). | 6, 192, 194, 200, 208, 0243, 277, 287
Haemolysed EDTA sample in detergent stable for 2 d (194). Serum > plasma
HTLV I - antibodi es (Tcell leukemia) | +
- (provirus) DNA amplific ation | [5 empty] | 
- RNA amplificat ion |  |  | + | [11 empty] | 111
Human chorion gonadotro pin (hCG) - free | + | [6 empty] | 0,5 – 1,5 d | 24 h (2 – 8 °C) | 4 w | 2 d
- total | + | + | + ,  | (+ ),  |  |  |  | 1 - 3 d | 2 d | 1 y | 7 d | 2 d |  |  | 96, 127
3-Hydroxybutyrate |  |  |  |  |  | [8 empty] | De-proteinisation of whole blood | 100
IgA | + | + | + |  |  |  |  | 6 d | 8 d 1 m (2 – 6 °C) | 8 m | 8 m | 8 m |  | EDTA and citrate | 50, 145, 258, 271, 289
IgD |  |  | -  |  |  |  |  | 5 d |  | 6 m | 7 d | 7 d
IgE antigen specific IgE |  + | + | + | (+)  |  |  |  | 2.5 d | 7 d | 6 m | 7 d | 7 d |  |  | 145
IgG IgG subclasses | + + | + + | + | - |  |  |  | 3 w | 11 d 1 m (2 – 6 °C) | 8 m | 8 m | 4 m |  |  | 50, 145, 258, 271, 289
IgM | + | + | + , , , -   |  |  |  |  | 5 d | 17 d 1 m (2 – 6 °C) | 6 m | 4 m | 2 m |  |  | 145, 258, 271, 289
Immunoglobulin (free) light chains (, ) | [13 empty] | See free light chains ( , ) of immunoglobulins
Influenza virus ABC antibodies | +
Insulin | (+)  | + | + |  |  |  |  | 5 min | 15 min - 6 h | 6 m | 6 d | 1 d |  |  | 64, 79, 151, 253, 289
Iron (Fe) | + | + | - | -  |  |  |  | 3 h | 2 h | y | 3 w | 7 d |  |  | 271, 276, 289
Islet cell antibodies (1A-2A) | + |  | (+ )* | [10 empty] | * See also glutamate decarboxylase autoantibodies (GADA) | 182, 196
JC polyoma virus - antibodi es (progres sive multifocal leukoenc ephalopat hy, PML) | +
- DNA-amplific ation (PML) | [5 empty] | 
Lactate | -  | -  | -  | - | (+) |  |  | min | < 5 min, unstable | 1 m* | 3d 2 w* | 8 h 6 d* | Mannose/ fluoride, monoiodo- acetate, deproteinisation | Use glycolysis inhibitor tube, if not immediately deproteinised *Deproteinised in whole blood | 10, 253, 271, 289
Lactate dehydrog | (+) |  | (+) | (+) |  |  |  | 10 - 54 h LDH 5 < | 1 h  | 6 w | 4 d | 7 d |  | LDH in serum dependent on | 106, 167, 271, 289
enase (LDH) |  | [7 empty] | LDH 1,2 | [5 empty] | platelet number (269)
Lead (Pb) | - | - |  | - | (+) |  | (+) | [5 empty] | 7 d |  | Special tube | 218
Legionell a antibodies | +
Leishman ia spp. antibodies (visceral leishmani osis) | +
Leptin | + | + | + | [7 empty] | 2 y | 2 m | 3 – 6 d |  | Five freeze/thaw cycles possible | 64, 272
Leptospir a spp. antibodies (Leptospir osis) | +
Leucocyte count |  |  |  |  | + |  | + |  | 6 - 7 h | 7 d |  | 1 d* |  |  | See also differential count, * EDTAblood | 60, 89, 107, 159, 191
Lidocaine | + | +,  | + | [5 empty] | 1 – 3 h |  |  | 6 h |  |  | Separator gel | 133
Lipase | + | + , -   | -  | - |  |  |  |  | 7-14 h |  | 1 y | 3 w | 7 d |  | EDTA binds calcium (activator), 15 % less activated in heparin () | 253, 254, 271
Lipoprote in(a) | + | + , | + | -  | [5 empty] | 1 d (4-8oC) | 3 m | 2 w | 2 d |  |  | 158, 189, 190, 227,
|  |  | [12 empty] | 230
Lipoprotein electroph oresis |  | - | - | - | [6 empty] | 2-5 d |  |  | Store at –20 ° C with 15 % sucrose
Listeria monocytogenes antibodies | +
- DNA amplificat ion | [5 empty] | 
Lithium | + | +*,  | -, +  | - |  |  |  | 8 – 24 h | 1 h  | 6 m | 7 d | 1 d |  | *Do not use Liheparin | 274
Lupus anticoagul ant | - | - | - |  | [5 empty] | 6 m |  | 4 h |  | Centrifuge platelet free | 43
Lutropin (LH) | + | + | + , , µ | [5 empty] | 7 d | 1 y | 5 d | 3 d |  |  | 51, 64, 127, 289
Lymphocytic choriomeningiti s virus (LCM) - antibodies | +
- RNA amplificat | [5 empty] | 
XXXXXXXX
Lymphocyte subtypes | [5 empty] | + | (+) |  |  | 1 d (7 d)* |  |  |  |  | *Special stabiliser recommended (Cyto-Chex) | 211
2-Macroglo buline | + | +,  | [13 empty] | 50
Magnesiu m (Mg) - ionized | + - | +*** * | - - | -  - |  * |  |  |  |  | 1 d** 1 h | 1 y 3 m | 7 d 1 m | 7 d 4 h | *Mg-balanced heparin (15-50 kIU/L)(21) | **Separate blood cells before analysis (223), do not use siliconized tubes *** higher results obtained in Terumo gel-tubes | 21, 57, 106, 223, 276, 289
Malaria -plasmodium antibodies | +
- plasmodiu m spp. | [5 empty] |  | [8 empty] | Microscopic examination of whole blood
- trypanoso ma gambiense | [5 empty] | (+) | [8 empty] | Blood film of capillary blood
Measles virus - antibodies | +
- RNA | [5 empty] | 
XXXXXXXX
Mercury (Hg) |  |  |  |  | + |  | [7 empty] | Special tube | 275
Methadone | + | +
Methotrexate | + | [6 empty] | 2 – 4 h |  | 6 m | 3 d |  |  | Light  | 65, 254
Microfilar ias |  |  |  |  | + | + | [7 empty] | Concentrated sample
2-Microglo bulin | + | +,, | +,,  | (+) |  |  |  |  | 1 d | 6 m | 3 d | 3d |  |  | 50, 145, 254
Morbilli virus - antibodies | + | +
- DNA amplificat ion | [5 empty] | 
Morphine, total* | + | + | [6 empty] | 21 d 6 m (4 °C) | 6 m | 6 m | 3 m |  | Light  *After hydrolysis | 232
Mumps virus antibodies | + | + | + | +
Mycobact erium spp. DNA amplificat ion | [5 empty] | 
Mycoplas | +
ma pneumoniae antibodies
Myeloper oxidase (MPO) | + | + |  | [7 empty] | 7 d | 8 h |  |  | 228
Myoglobin | + | + | + | (+)  |  |  |  | 15 min | 1 h  | 3 m | 1 w | 2 d |  |  | 18, 49, 145, 165, 286
Neisseria gonorrhoe ae antibodies | +
Netilmyci n | + | [6 empty] | 2 – 3 h
Neuron specific enolase (NSE) | +  |  | + |  |  |  |  | 1 d | 2 h  | 3 m 9 m (-80oC) | 3 d | 2 d | Heparin | Increased in thrombocytosis Serum > plasma | 35, 91, 197, 253
Nitrazepa m | + | +  | +  | (+)  |  |  |  |  | 1 w | 1 w | 1 w |  |  | Light  | 155, 264
Opiates | + | + | [6 empty] | 8 h | 6 m | 2 d | 8 h |  | See also morphine | 275
Osmolalit y | + | + | [7 empty] | 3 m | 1 d | 3 h |  |  | 253, 289
Osteocalcin | +* | +* | * |  |  |  |  | min | 15 min | 8 w (-30 °C) 1 y** | 2 d* 4 d** | 8 h 2 d** | *Aprotinin 2500 KIU/mL + EDTA (5mmol/L) | Three freezing/thawing cycles are possible. ** N - MIDosteocalcin in EDTA plasma | 56, 146, 281
Pancreatic | + |  | + | + | [5 empty] | 6 m | 2 w
elastase
Pancreatic polypepti de | + | + | + | [7 empty] | 6 d | 2 d |  |  | 64
Paracetamol | + | + | + | (+)  |  |  |  | 1 – 4 h | 8 h | 45 d | 2 w | 8 h |  |  | 65, 274, 275, 290
Parathyrin (PTH) | +  | + ,  |  | (+)  |  |  |  | 3 – 4 min | 6 h (2 – 3 d in EDTA blood) | 4 m | 1 d | 6 h | EDTA | 15 % lower concentrations in serum compared to EDTA plasma | 151, 212
Partial thrombopl astin time (aPTT) | - | - | - |  |  |  |  |  | 1 w | 1 m | 2-8 h | 2-8 h |  | Stability reduced in plasma of heparinized patients | 1, 2, 38, 105, 134, 256, 292
Parvoviru s B 19 - antibodi es (erythema infectios um) | +
- DNA amplificat ion | [5 empty] | 
Phencycli dine | +
Phenobarbital | + | + | + | (+),,  |  |  |  | 2 – 6 d | 2 d | 6 m | 6 m | 6 m |  |  | 36, 65
Phenytoin free | + + | +,,  -, ,  + | +,, , - | (+) ,, + |  |  |  | 1 – 8 d | 2 d | 5 m | 1 m | 2 d |  | Unstable in serum separator tubes (36), but stabile in SST II tubes (30) Biological half-life shorter in children | 30, 36, 65, 290
Phosphate, inorganic | (+)  |  | , , + µ | (+)µ, - |  |  |  | min | 1 – 16 h  | 1 y | 7 d | 3 d |  | Platelet-dependent in serum (163) | 27, 106, 163, 271, 289
Polio virus 1, 2 , 3 antibodies | + | [12 empty] | Neutralisation test
Potassium (K) | (+)  |  | - | - | + |  |  | min | 1 -16 h  | 1 y | 6 w | 6 w |  | Platelet-dependent in serum > plasma (96, 163, ,271), haemolysis | 27, 57, 99, 106, 163, 271, 289
Prealbumin | [13 empty] | see Transthyretine
Primidone | + | + | + | (+) |  |  |  | 4 - 19 h | 1 y | 5 m | 4 w |  |  |  | 65
Procaina mide and N-acetylprocaina | + | +,  | +,  | (+ ) |  |  |  | 3 - 5 h 6 – 10 h |  | 6 m | 2 w |  |  |  | 65, 254
mide (NAPA)
Procalcito nin | + | + | + | (+) |  |  |  | 20 – 26 h | 1 - 2 d |  | 4 d | 4 h |  |  | 168, 245
Procollag en type I (and its N-terminal propeptid e (PINP)) | + | + | + | [6 empty] | 1 y | 2 d | 1 d |  |  | 100
Progastrin releasing peptide (proGRP) | [13 empty] | see Gastrin releasing peptide | 246
Progester one | + | + , -, µ  | + , µ, -  | [5 empty] | 7 d | 1 y | 4d | 1 d |  |  | 51, 289
Proinsulin | + | + |  |  |  |  |  | 15 min | 2 d* | 6 m | 1 h | 7 min | EDTA | *in EDTA | 79, 100, 193
Prolactin | + | + , , µ | + , µ | - |  |  |  |  | 2 d | 1 y | 6 d | 5 d |  |  | 51, 64, 289
Propaphe none | + | +
Propoxyp hene | + | +
Prostata | [13 empty] | Three freezing | 34, 121, 152,
specific antigen (PSA) - free | + | +  | +  | [5 empty] | 2 h – 7 d | 1 m | 1 d | 6 h |  | thawing cycles possible | 187, 217, 225, 285
- total | + | + , µ, -  | + , µ, - | (+) |  |  |  | 2 - 3 d | 4 – 7 d | 3 m - 2 y | 30 d | 7 d |  |  | 34, 121, 188, 203, 284, 285
Protein, total | +  |  | + , , ,  | (+) |  |  |  | Complex | 1 d | 1 y | 4 w | 6 d |  | Plasma results higher due to fibrinogen (Biuret method) | 253, 289
Protein C | - | - | - |  |  |  |  | 6 - 8 h | 1 d | 3 m | 7 d | 7 d |  | Avoid freezing/thawing cycles | 105, 162, 292
Protein S | - | - | - |  |  |  |  | 24 - 58 h |  | 1 m | 4 h | 8 h |  | Separate cell-free plasma directly after centrifugation | 20, 105,
Protein S100 | + | [6 empty] | 2 – 5 h |  |  | 7 d | 7 d |  |  | 246
Prothrom bin time (thromboplastin time, Quick) | - | - | - |  |  |  |  |  | 4 h – 1 w* | 1 m | 8 h - 1 d* | 4 h – 1 d* |  | *Reagent-dependent | 1, 2, 105, 198, 253, 256, 292
Pyruvate | -  | -  | - | - | +* |  |  |  | < 1 min* |  |  |  |  | *Only stable in deproteinized blood
Renin | - | - | + | - |  |  |  |  | unstable | 1 y |  | < 1 h |  |  | 254
Reovirus antibodies | +
Respirator y syncytial virus (RSV) antibodies | +
Reticuloc yte count maturity index |  |  |  |  | (+) |  |  |  | 12 h | 3 d* 1 d* |  | 3 d* 1 d* |  |  | *EDTA blood | 33, 159, 206
Retinol binding protein (RBP) | + | + | [6 empty] | 10 h |  | 3 m | 8 d | 1 d |  |  | 50, 145, 222
Rheumatoid factors subfract ions IgA, IgG | + + | + , (+)  | + , (+)  | (+) | [5 empty] | 6 h | 3 m | 8 d | 1 d |  |  | 151, 289, 290
Rickettsia antibodies | +
RNA analysis by amplificat ion (PCR) | (+) | -* | + |  | -* |  | + |  |  | 2 h , 12 h (4oC), 4 d (EDTA) 1 m** | 1 y | 1 d | <1 h | RNA: 5 mmol/L Guanidiniumisothiocyanate **PAXgen | *Heparin inhibits Taq polymerase and restriction enzymes LiCl 1.8 mol/L eliminates this error (122, 181). | 111, 122, 195, 263
Rotavirus | +
antibodies
Rubella virus - antibodies | + | + , | + , | (+) ,
- RNA amplificat ion | [5 empty] | 
S 100 protein | [13 empty] | see Protein S 100
Salicylate | + | + | + | (+) |  |  |  | 24* – 30 min |  | 6 m | 2 q | 7 d |  | *Higher at toxic concentrations | 65, 274
Sandfly (pappataci -) fever antibodies | +
Selenium (Se) | - | - | - | - |  | +* |  |  | 2 d | 1 y | 2 w | 1 w |  | *Special tubes, contamination | 218
Sirolimus | [5 empty] | + |  |  | 1d* (4-8 oC) |  |  |  |  | *EDTA blood | 221
Sodium (Na) | + | + | - | - | +* |  |  | min | 4 d | 1 y | 2 w | 2 w |  | * Use 140 mmol/L Na-stabilized heparin 8-12 IU/mL blood (29) | 57, 106, 289
Soluble transferrin receptor (sTfR) | + | +,, | - | [5 empty] | 2-6 h | 3 m | 7 d | 3 d |  | Freeze only once | 48, 145, 151, 253, 290
Somatotropin (STH) | + | + |  |  |  |  |  | 20 – 50 min | 1 d | 3 m | 8 d | 3 d | EDTA |  | 51, 64, 289
(growth hormone)
Squamous cell carcinoma antigen (SCCA) | + | + | [5 empty] | 1,5 – 3 h | 7 d | 1 m | 1 m | 7 d | Closed tubes | Increase by contamination (skin) | 179, 217, 248
Staphyloc occal antibodies - antistaphy lolysin O | + | +  | + 
Streptocc occal antibodies | [8 empty] | 1 h | > 1 m | 3 d |  |  |  | 100
- anti-DNAse B | +
- antihyalur onidase | + | +, , ,  | +, , , 
- antistrep tokinase - antistrept olysin O | + + | + , ,  | + , , 
Tacrolism us | - | - | - | - | - |  |  | 6 – 21 h | 7 d | 1 y | 2 w | 7 d |  |  | 7, 274
Tartrate resistant acid | + | + | + | [5 empty] | 2 h | 2 m |  | 4 h |  |  | 100
phosphata se (TRACP 5 b)
Testostero n | + | + | + | (+)  | [5 empty] | 7 d 1 d in women | 1 y | 7 d | 1 d |  |  | 51, 132, 271
Tetrahydrocannabinol carbonic acid (THC) | + | + | [6 empty] | ~ 45 h |  | 6 m | 6 m | 2m | Na azide | Unstable in plastic tubes | 65, 155
Theophyll ine | + | + | + | (+),  |  |  |  |  | 3 - 12 h |  | 3 m | 3 m | 3 m |  |  | 65, 264, 274
Thrombin time | - | - | - |  | [5 empty] | 1 - 4 h | 1 m | 1 h – 2 d* | 1 - 4 h* |  | *Stability reagent- and heparindependent | 38, 105, 256, 259
Thrombocyte antibodies | + |  | + | +
Thrombocyte count Thrombocyte volume |  |  |  |  | (+) |   | (+) |  | 9 - 10 d | 4 d*, 7 d (4-8oC)* |  |  |  | * in EDTAblood | Aminoglycosides avoid pseudothrombocytopenia in EDTA (214) | 105, 107, 160, 214
Thrombocyte function using | - | - | - | - |  |  |  |  | 9 - 10 d | 4 d 2 h (7d)* |  |  | 1 h |  | * | 211, 219
platelet function analyzer (PFA) (), using flow cytometry | - | - | - | - |  |  |  | [7 empty] | Special stabilizer recommended (211)
Thyreoglo bulin | + | [7 empty] | 1 d | 2 d | 1 m | 3 d – 3 w | 1 d |  | three freezing – thawing cycles possible (45) | 45, 253, 289
Thyreotro pine (TSH) | + | + , , µ, -  | + , , , - µ | (+) |  |  |  |  | min | 7 d | 3 m | 3 d | 1 d |  | Spot blood on filter paper in newborns | 49, 269, 287
Thyreotro pine receptor antibodies (TRAb) | +
Thyroid antibodies Thyreoidea peroxidase antibodies (anti-TPO) Thyreoglo bulin | + | + | [9 empty] | 2 d
antibodies (anti-TG)
Thyroxine (T4) |  | + , , , - , µ | + , , , , - , µ | (+)  |  |  |  | 6 m | 7 d | 1 m | 7 d | 5 d |  |  | 51, 271, 289
Thyroxine, free ( fT4) | + | + | + | (+)  |  |  |  |  | 6 h | 3 m | 8 d | 2 d |  |  | 151, 289
Thyroxine binding globulin (TBG) | + | + | [6 empty] | 7 d | 1 m | 5 d | 5 d |  |  | 57, 254, 289
Tick borne encephalit is virus antibodies | + |  | (+)
Tobramycin | + | + , ,  | +  | (+ ) |  |  |  | 0.5 - 3 h (< 30 y of age) 1,5 – 15 h (>30 y of age) |  | 1 m | 3 d | < 2 h |  | Lower results obtained in heparinized plasma | 65, 207, 274
Toxoplas ma gondii antibodies | + | + , | + , | +, | [6 empty] | 8 d | 8 d
(IgA, IgG, IgM)
Transferri n | + | + ,  | + |  |  |  |  | 7 - 10 d | 11 d 3 w (2 – 6 °C) | 6 m – 2 y | 8 m | 4 m |  |  | 84, 145, 258, 271, 289
Transthyr etine (prealbumin) | + | +  | +  |  |  |  |  |  2 d |  | 1 y | 6 m | 3 d |  |  | 222
Treponema pallidum - antibodies | + | + | + | +
- DNA amplificat ion | [5 empty] | 
Tricyclic antidepres sants | + | + | + | (+ ) |  |  |  |  | 1 w | 1 y |  |  |  | see also Amitryptilin group | 47, 275
Triglyceri des | + | + | +, - | (+) |  |  |  | 3 h - 3 d | 7 d* | y | 7 d | 2 d |  | *Decrease of triglycerides, increase of free glycerol, but only minor increase of total glycerol | 44, 106, 271, 289
Triiodoth yronine (T3) - free |  + | (+)  , , , µ | + µ + | (+) |  |  |  | 19 h |  | 3 m 3 m | 8 d 2 w | 2 d 2 d |  | Serum-plasma difference methoddependent | 271, 289
(fT3) |  | +
Troponin I | + | + , , - , µ  | + , - , µ  |  |  | + |  | 2-4 h |  | 4 w | 3 d | 2 d |  |  | 17, 80, 104, 165, 189, 247
Troponin T | + | + | + |  |  |  |  | 2 – 4 h | 8 h | 3 m | 7 d | 1 d |  |  | 80, 165, 247, 253
Tumor necrosis factor (TNF) | - |  |  | [5 empty] | 1 h |  |  |  | EDTA |  | 54, 69
Urea | + | + | + |  |  |  |  | min | 1 d | 1 y | 7 d | 7 d |  | Do not use NH4heparin | 106,258, 289, 290
Uric acid | + | + | +  | (+) |  |  |  | min | 3 - 7d | 6 m | 7 d | 3 d |  |  | 27, 271, 289, 290
Valproate | + | + | + | (+)  |  |  |  | 8 - 15 h | 2 d | 3 m | 7 d | 2d |  |  | 36, 65
Vancomycin | + | + | + | (+ ) |  |  |  | 4 - 10 h |  | 7 d | 1 d | 2 d |  |  | 65, 269, 274, 290
Varicella Zoster virus - antibodies | + | + | + | +
- DNA amplificat ion | [5 empty] | 
Vasoactiv |  |  |  | [6 empty] | > 6 d | 6 d | 1 d | EDTA + |  | 64, 178
e intestinale polypepti de (VIP) | [12 empty] | aprotinin
Vasopress in (ADH) |  | + | + | [7 empty] | 6 d | 1 d | EDTA | Freeze plasma | 64
Vitamin A (retinol) | + |  |  |  |  |  |  | 11 h | 1 h | 2 y | 1 m | 3 h |  | light sensitive | 100, 253
Vitamin B1 (thiamine) | + | + | + | [6 empty] | 1 y |  |  |  |  | 100, 116
Vitamin B2 (riboflavi n) |  | + | + | [5 empty] | 1 h | 1 m |  |  |  |  | 100
Vitamin B6 (pyridoxal phosphate) | + |  |  | [6 empty] | d | h | 30min | EDTA, darkness |  | 100, 116
Vitamin B12 (cobalami n) | + | + |  | [5 empty] | 6 h | 8 w | 1 d | 15min | EDTA, darkness |  | 100, 142, 151
Vitamin C (ascorbic acid) | + | + | + | [5 empty] | 3 h (4 °C) | 3 w* | 3 h |  | 60 g/L metaphosphate, deproteinised | *Only with stabilizer | 100
Vitamin D 1.25dihydroxy | + + | + + | + + | [5 empty] | 3 d 3 d | 1 y 1y | 7 d 7 d | 3 d 3 d |  |  | 100, 253, 289
XXXXXXXX |  | Stability
XXXXXXXX | / | / | / | / | Whole b Hep EDT | lood A Citra | Biological half-life | Stability in blood at room temperature | Stability in serum/plasma -20 °C 4-8 °C 20-25 °C | Stabiliser | Remarks / Comments | /
-vitamin D (calcitriol), 25hydroxyvitamin D (calcidiol)
Vitamin E (tocopher ol) | + |  |  | [5 empty] | 8 h | 1 y | 1 m |  | EDTA |  | 100, 253
Vitamin K (transphyllochinone) |  |  | + | [5 empty] | unstable | 3 m | unstable |  |  | UV light | 100, 253
von Willebran d factor |  |  |  |  |  |  |  |  | 1 w | [5 empty] | 292
Yersinia enterocoli tica antibodies | +
Zinc (Zn) | - | + | - | - |  |  |  |  | 30 min | 1 y | 2 w | 1 w |  | Special tube, avoid con- tamination by stopper | 218, 271, 289
Aluminium | 1 y | 7 d | 3 d |  |  | 218
5()-Aminolevulinic acid | 1 m | 4 d | 1 d | pH 6 - 7, stabilized with 0.3 % NaHCO3 | Drugs  Light  | 253, 289
Amphetamine | 1 y |  |  |  |  | 53
Amylase | > 3 w | > 10 d | 2 d |  | Saliva contaminates  | 161
Bence Jones protein (immunoglobulin light chains , ) | 6 m | 1 m | 7 d |  |  | 250, 251
Calcium | > 3 w | 4 d | 2 d | Acidify, pH < 2 | Crystallisation at cool temperature | 42
XXXXXXXX | Unstabilized 20 d 4 d Stabilized 1 y 1 y | 4 d 3 w | Acidify, pH < 2,5 -5 (9 ml 20% HCl in 24 h urine) or EDTA (250 mg/L) and sodium metabisulfite (250 mg/L) |  | 26, 172, 278
Citrate | 4 w* |  | 1 d* | *pH 1,7 | Unstable in native urine | 108
Cocaine metabolite Benzoylecgonine | 4 m | 3 w |  | pH 5, ascorbic acid |  | 53, 109, 155
Codeine | 1 y |  |  |  |  | 53
Copper | 1 y | 7 d | 3 d |  |  | 218
Cortisol, free | 1 w | 1 w | 2 d | 10 g/L boric acid |  | 42, 126, 276
Creatinine | 6 m | 6 d | 2 d |  |  | 42, 253
Cystine (Cysteine) | > 1 y* | 3 m* | 7 d* | *Stabilised in HCl |  | 108
Ethanol |  | 30d |  |  |  | 83, 155
Glucose | 2 d | 2 h | 2 h  | 10 mmol/L azide | Bacteria decrease stability. | 42, 253, 254
5-Hydroxyindoleacetic acid | 2 d | 2 d | 2 h | Acidify |  | 253, 289
Hydroxyproline | 5 d | 5 d | 5 d |  |  | 253
Immunoglobulin G (IgG) | Unstable | 1 m | 7 d |  |  | 110, 148, 250, 251
Iron | 1 y | 7 d | 3 d |  |  | 42
XXXXXXXX | 2 m 1 m | 1 m |  |  | 53, 155
XXXXXXXX | 7 d | 7 d
XXXXXXXX | 1 y 3 d | 3 d | Acidify, pH < 2 |  | 42, 108
XXXXXXXX | 8 d |  |  | 278
1-Microglobulin | 6 m | 1 m | 7 d |  |  | 110, 148, 250, 251
Morphine | 1 y |  |  |  |  | 53, 65, 155
Myoglobin | 12d* | 12d* | 12d* | *pH  8.0 | Unstable at acid pH | 286
N-Acetyl-,Dglucosaminidase (-NAG) | 1 m | 7 d | 1 d |  |  | 166
XXXXXXXX | 7 d 1 d |  |  | 61
XXXXXXXX | > 3 m | 7 d 3 h |  |  | 42
XXXXXXXX | > 4 m unstable < 1 h (at pH 1.5) | pH  2, HCl 1 vol %, thymol 5 mL/L | Vitamin C  | 108
XXXXXXXX | unstable |  | Increase by NH4 formation | 42
XXXXXXXX | 6 m (pH<5) 2 d at pH <5.0 | 1 vol % thymol, 5 mL/L | precipitates at alkaline pH | 42, 108
Porphobilinogen | 1 m* | 7 d* | 4 d* | *pH 6 – 7 by NaHCO3 | Acid pH Light | 253, 289
Porphyrines Total porphyrine Uroporphyrine Heptacarboxyporphyrine Hexacarboxyporphyrine Pentacarboxyporphyrine Coproporphyrine Tricarboxyporphyrine Dicarboxyporphyrine | 1 m* | 7 d* | 4 d* | *0.3 % NaHCO3, pH 6-7 | Light  | 100, 253
Potassium | 1 y | 2 m | 45 d |  |  | 42
Protein | 1 m | 7 d | 1 d |  |  | 42
Pyridinolines | >1 y | 1 w | 3 d |  | UV light  | 100, 273, 281
Acanthocytes |  | 2 d | 1 d* |  | *300 mosmol./kg
Casts (hyaline and others) |  |  | 2 d | Osmolality 300 mosmol/kg | **pH 6,5
Bacteria |  | 24 h | 1 – 2 h*** |  | ***pH 7,5
Epithelial cells |  |  | 3 h
Erythrocytes |  | 1-4 h | 1 h, 24 h*
Leukocytes |  | 1-4 h | 24 h** 1 h ***
Sodium | 1 y | 45 d | 45 d |  |  | 42
Test-strip fields Erythrocytes Leukocytes Nitrite Protein |  | 1 - 3 h 1 d* 8 h | 4 – 8 h 1 d  4 h 2 h** |  | * 300 mosmol./kg ** Unstable at pH >7.5 | 42, 136, 138
XXXXXXXX | 4 w 1 w | 7 d |  |  | 148
XXXXXXXX | 4 w 7 d | 2 d | pH < 7 |  | 42
XXXXXXXX | Unstable | 4 d | pH  8 | Precipitation at pH < 7 | 42, 108
XXXXXXXX | 1 y 7d 7d at pH 3 - 5 | pH  5 |  | 42, 253, 289
XXXXXXXX | 1m | 3 d | 5 h 
XXXXXXXX | unstable | 7 d | 1 d
XXXXXXXX | m | 1 h | 30 min
XXXXXXXX |  | 3-5 h | 1-2 h
XXXXXXXX | 2 w 2 d
XXXXXXXX | 1 m, 6 m at -80oC
XXXXXXXX | > 1 y 6 d 1 d
XXXXXXXX | 1 – 12 h